city of oceanside
bmp Operations and maintenance Plan

PROJECT NAME
city of oceanside
bmp Operations and maintenance Plan

PROJECT NAME

CITY OF OCEANSIDE
[image: image1.jpg]



BEST MANAGEMENT PRACTICES 
OPERATIONS AND MAINTENANCE PLAN

FOR PRIORITY PROJECTS

Project NAME:
PARCEL NUMBER:
PROJECT NUMBER: 
Applicant name: 
date: 
Prepared for:

City of Oceanside

Engineering Division
300 North Coast Hwy
Oceanside, CA  92054
Deemed Complete by the City of Oceanside 
Engineering Division
Name:
   Date: 

(This page is left intentionally blank)
Table of Contents

1I.
Compliance with Stormwater Best Management Practices Maintenance Requirements


1II.
Designation Responsible Parties


2A.  Maintenance Personnel


2B.  Organizational Chart


2C.  Training


3D.  BMP Maintenance Funding


3III.
Low Impact Development and Site Design BMPs


4IV.
Source Control BMPs


15V.
Drainage Areas


15VI.
Stormwater Treatment Control BMPS


16VII.
Inspecting Stormwater BMPs


16A.  Inspection Procedures


16B.  Inspection Report


17C.  Verification of Inspection and Checklist Submittal


17VIII.
Maintenance Schedule for Stormwater BMPs


17IX.
Maintaining Stormwater BMPs


17A.  Maintenance Categories


18B. Maintenance Forms


18X.
Preventative Measures to Reduce Maintenance Costs


19XI.
Inspection & Maintenance – Annual Reporting




TABLES
TABLE 1 Ownership and Maintenance
TABLE 2 BMP Operation and Maintenance Funding
TABLE 3 Source Control BMPs
TABLE 4 Drainage Management Areas
TABLE 5 Stormwater Treatment Control BMPs


ATTACHMENTS
1.
Organizational Chart

2.
Training Program 

3.
BMP Operation and Maintenance Funding Supplemental Information

4.
LID BMPs Inspection Form

5.
Source Control BMP Inspection Form

6.
Site Map

7.
Plans and Other Operation and Maintenance Requirements
8.
Treatment Control BMP Inspection and Maintenance Checklist(s)

9.
Maintenance Schedule  

10.
Service Agreement

11.
Annual Inspection and Maintenance Reporting Form

12.
Copy of Storm water facility maintenance Agreement (SWFMA)
13.
Annual Maintenance Cost Estimate
I. Compliance with Stormwater Best Management Practices Maintenance Requirements

All applicants are responsible for ensuring that stormwater best management practices (BMPs) or facilities installed on their property are properly maintained and that they function as designed.  Tenants shall be aware of their responsibilities regarding stormwater facility maintenance and need to be familiar with the contents of this Operations and Maintenance Plan (O&M Plan).  Applicants have signed and agreed to a Standard Storm Water Facilities Maintenance Agreement with Access Rights and Covenants (SWFMA).  All other maintenance agreements between the applicant and their maintenance employees associated with this property shall be included in Attachment 10.
II. Designation Responsible Parties

Responsible parties shall be designated and identified in Table 1.

· The Responsible BMP Party is individual, party, or parties that shall have direct responsibility for the maintenance of stormwater controls. This individual shall be the designated contact with City of Oceanside inspectors and should sign self-inspection reports and any correspondence regarding verification of inspections and required maintenance.

· The Duly Authorized Representative is the corporate officer authorized to negotiate and execute any contracts that might be necessary for future changes to operation and maintenance or to implement remedial measures if problems occur.

· The Designated Emergency Respondent is the party responsible for emergencies such as clogged drains,  broken irrigation pipes, etc., that would require immediate response should they occur during off-hours.
	TABLE 1
Ownership and Maintenance

	
	Name
	Address
	Phone / Email

	Responsible BMP Party
(if different than above)
	
	
	

	Employees reporting to Responsible BMP Party
	
	
	

	Duly Authorized Representative
	
	
	

	Designated Emergency Respondent1
	
	
	


1 The Designated Emergency Respondent’s phone number must be a cellular phone that is reachable 24 hours a day.

Updated contact information must be provided to City of Oceanside immediately whenever a property is sold and whenever designated individuals or contractors change.
A.  Maintenance Personnel
Maintenance personnel including Responsible BMP Party, Employees Reporting to Responsible BMP Party, and the Designated Emergency Respondent, must be qualified to properly maintain stormwater BMPs (including treatment and flow-control facilities), especially for restoration or rehabilitation work.  Inadequately trained personnel can cause additional problems resulting in additional maintenance costs.  
B.  Organizational Chart
An organization chart showing the relationships of authority and responsibility between the individuals responsible for maintenance is provided in Attachment 1.
C.  Training
Periodic training is conducted by the responsible BMP party for all personnel affiliated with the maintenance of stormwater BMPs.  New staff and/or contractors training regarding the purpose, mode of operation, and maintenance requirements for the site’s storm water facilities will be provided by the site.  Necessary ongoing training for staff and/or contractors will also be provided.  The site’s Staff Training Program is described in Attachment 2.
	TABLE 2
BMP Operation and Maintenance Funding

	Sources of Funding
	

	Budget Category for Expenditures
	

	Process for establishing Annual O&M Budget
	

	Process for obtaining unexpected expenditures for major corrective activities
	


D.  BMP Maintenance Funding
The funding for BMP operation and maintenance shall be described in Table 2; including sources of funds, budget category for expenditures, process for establishing the annual operations and maintenance budget, and process for obtaining authority should unexpected expenditures for major corrective maintenance be required. Any supplemental information, including calculations and documentation shall be included in Attachment 3.

III. Low Impact Development and Site Design BMPs

Low Impact Development (LID) and Site Design BMPs have been incorporated into the project to minimize stormwater impacts.  LID BMPs collectively minimize directly connected impervious area and promote infiltration on the project site.  Site design BMPs are permanent measures and are similar to LID BMPs.
The LID and Site Design BMPs for the project which require maintenance are identified along with their locations, including Drainage Management Areas (DMAs), in the project SWQMP. A LID Inspection form for the site is provided in Attachment 4.  In the event that a project use should change or maintenance considerations may require the site to become amended, Table 22 should be referenced for original site constraints and design guidelines.
IV. Source Control BMPs

Source control BMPs have been selected for the project in order to minimize or prevent pollutant generation.  The SWQMP and Table 4 of this O&M identifies the potential pollutant sources and corresponding permanent and operational source controls as well as their locations.

Source control BMPs should be inspected routinely in order to reduce or prevent pollution from accumulating in these areas.  Routine inspections of the site’s source controls are discussed in the site’s maintenance schedule.  Source control inspection forms are in Attachment 5.
	TABLE 3 
Source Control BMPs

	Potential Pollutant Sources
	Description
	Operational BMPs
	Location

	 FORMCHECKBOX 
On-site storm drain inlets
	· All inlets shall be marked with City of Oceanside storm drain markers 

	· Maintain and periodically replace inlet markers, as necessary.
· Review stormwater pollution prevention information applicable to the site.

· Adhere to applicable operational BMPs in Fact Sheet SC-44, “Drainage System Maintenance,” in the CASQA Stormwater Quality Handbooks at www.cabmphandbooks.com 

· Do not allow anyone to discharge anything to storm drains or to store or deposit materials so as to create a potential discharge to storm drains.
	

	 FORMCHECKBOX 
Interior floor drains and elevator shaft sump pumps
	· Interior floor drains and elevator shaft sump pumps will be plumbed to sanitary sewer.
	· Inspect and maintain drains to prevent blockages and overflow.
· Regularly clear all associated cleanouts and hand holes.
	

	 FORMCHECKBOX 
Interior parking garages
	· Parking garage floor drains will be plumbed to the sanitary sewer.
	· Inspect and maintain drains to prevent blockages and overflow.
	

	 FORMCHECKBOX 
Landscape/ Outdoor Pesticide Use
	· Final site landscape plans shall be placed in Attachment 7 and shall be used to maintain the following:

· Preserve existing native trees, shrubs, and ground cover to the maximum extent possible.

· Minimize irrigation and runoff, to promote surface infiltration where appropriate, and to minimize the use of fertilizers and pesticides that can contribute to stormwater pollution.

· Where landscaped areas are used to retain or detain stormwater, maintain and replace, as necessary, plants that are tolerant of saturated soil conditions.
· Consider using pest-resistant plants, especially adjacent to hardscape.
· To insure successful establishment, select plants appropriate to site soils, slopes, climate, sun, wind, rain, land use, air movement, ecological consistency, and plant interactions.
	· Maintain landscaping using a minimum amount of or no pesticides (consider the use of organic techniques).
· Review and adhere to applicable operational BMPs in Fact Sheet SC-41, “Building and Grounds Maintenance,” in the CASQA Stormwater Quality Handbooks at www.cabmphandbooks.com
· Review IMP information and provide to landscape and maintenance personnel.

	

	 FORMCHECKBOX 
Use efficient irrigation systems 
	· Employ rain shutoff devices to prevent irrigation after precipitation.

· Design irrigation systems to each landscape area’s specific water requirements.

· Use flow reducers or shutoff valves triggered by a pressure drop to control water loss in the event of broken sprinkler heads or lines.

· Employ other comparable, equally effective, methods to reduce irrigation water runoff.
	· Inspect irrigation system for leaks and/or malfunctions.
· Inspect that water usage is consistent with vegetation requirements. 

· Inspect that irrigation shut-off controls operate correctly.
	

	 FORMCHECKBOX 
Need for future indoor & structural pest control
	· Note building design features that discourage entry of pests.
	· Review Integrated Pest Management information and provide to other maintenance personnel.
	

	 FORMCHECKBOX 
Pools, spas, ponds, decorative fountains, and other water features.
	· Plumb pools to the sanitary sewer in accordance with local requirements.
	· Review and adhere to applicable operational BMPs in Fact Sheet SC-72, “Fountain and Pool Maintenance,” in the CASQA Stormwater Quality Handbooks at www.cabmphandbooks.com
	

	 FORMCHECKBOX 
Food service
	· Describe the location and features of the designated cleaning area.
· Describe the items to be cleaned in this facility and how it has been sized to insure that the largest items can be accommodated.
	
	

	 FORMCHECKBOX 
Refuse areas
	· State how site refuse will be handled and provide supporting detail to what is shown on plans.
· Prohibitive signs shall be posted on or near dumpsters with the words “Do not dump hazardous materials here” or similar.
· Any drains from dumpsters, compactors, and bin areas shall be connected to a grease removal device before discharge to sanitary sewer.
	· Provide adequate number of receptacles. 
· Inspect receptacles regularly; repair or replace leaky receptacles. 
· Keep receptacles covered at all times.
· Prohibit/prevent dumping of liquid or hazardous wastes. 
· Post and replace, as necessary, “no hazardous materials” signs. 
· Inspect and pick up litter daily and clean up spills immediately.
· Keep spill control materials available on- site. Review Fact Sheet SC-34, “Waste Handling and Disposal” in the CASQA Stormwater Quality Handbooks at
www.cabmphandbooks.com
	

	 FORMCHECKBOX 
Industrial processes.
	· Cover or enclose areas that would be the most significant source of pollutants; or, slope the area toward a dead-end sump; or, discharge to the sanitary sewer system in compliance with the applicable municipal waste water district’s requirements (include a copy of the waste acceptance letter from the agency accepting the waste in Attachment 10).

· Grade or berm area to prevent run-on from surrounding areas.

· Installation of storm drains in areas of equipment repair is prohibited.

· Implement other features which are comparable or equally effective.
	· Review and adhere to Fact Sheet SC-10, “Non- Stormwater Discharges” in the CASQA Stormwater Quality Handbooks at
www.cabmphandbooks.com
	

	 FORMCHECKBOX 
Outdoor storage of equipment or materials 
	· Comply with all requirements of local Hazardous Materials Programs for: 
· Hazardous Waste Generation
· Hazardous Materials Release Response and Inventory
· California Accidental Release (CalARP)
· Aboveground Storage Tank
· Uniform Fire Code Article 80 Section 103(b) & (c) 1991
· Underground Storage Tank
· Storage of non-hazardous liquids shall be covered by a roof and/or drain to the sanitary sewer system, and be contained by berms, dikes, liners, or vaults.
· Storage of hazardous materials and wastes must be in compliance with the local hazardous materials ordinance and a Hazardous Materials Management Plan for the site.
	· Review and adhere to the Fact Sheets SC-31, “Outdoor Liquid Container Storage” and SC- 33, “Outdoor Storage of Raw Materials ” in the CASQA Stormwater Quality Handbooks at www.cabmphandbooks.com
	

	
	Include a detailed description of materials to be stored, storage areas, and structural features to prevent pollutants from entering storm drains.
	· 
	

	 FORMCHECKBOX 
Vehicle and Equipment Cleaning
	· If a car wash area is not provided, describe measures taken to discourage on-site car washing and explain how these will be enforced.

· Equip wash area with a clarifier, grease trap or other pretreatment facility, as appropriate and properly connect to the sanitary sewer.
· Implement other features which are comparable or equally effective
· Commercial/ industrial facilities having vehicle/ equipment cleaning needs shall either provide a covered, bermed area for washing activities or discourage vehicle/equipment washing by removing hose bibs and installing signs prohibiting such uses.
· Washing areas for cars, vehicles, and equipment shall be paved, designed to prevent run-on to or runoff from the area, and plumbed to drain to the sanitary sewer.
· Commercial car wash facilities shall be designed such that no runoff from the facility is discharged to the storm drain system. Wastewater from the facility shall discharge to the sanitary sewer, or a wastewater reclamation system shall be installed and permitted by proper regulatory authorities (attach permits in Attachment 10, as necessary). 
	· Follow operational measures to implement the following (if applicable):
· Washwater from vehicle and equipment washing operations shall not be discharged to the storm drain system.
· Car dealerships and similar may rinse cars with water only.
· Review and adhere to Fact Sheet SC-21, “Vehicle and Equipment Cleaning,” in the CASQA Stormwater Quality Handbooks at www.cabmphandbooks.com

	.

	 FORMCHECKBOX 
Vehicle/Equipment Repair and Maintenance
	· No vehicle repair or maintenance will be done outdoors, or else describe the required features of the outdoor work area.
· An industrial waste discharge permit will be obtained. For floor drains connected to the sanitary sewer; design will meet the permitting agency’s requirements.  

· An industrial waste discharge permit will be obtained for tanks, containers or sinks to be used for parts cleaning or rinsing; design will meet the permitting agency’s requirements. 

· Accommodate all vehicle equipment repair and maintenance indoors or designate an outdoor work area and design the area to prevent run-on and runoff of stormwater.
· Show secondary containment for exterior work areas where motor oil, brake fluid, gasoline, diesel fuel, radiator fluid, acid-containing batteries or other hazardous materials or hazardous wastes are used or stored. Drains shall not be installed within the secondary containment areas.

	· The following restrictions apply to use the site:
· No person shall dispose of, nor permit the disposal, directly or indirectly of vehicle fluids, hazardous materials, or rinse water from parts cleaning into storm drains.
· No vehicle fluid removal shall be performed outside a building, nor on asphalt or ground surfaces, whether inside or outside a building, except in such a manner as to ensure that any spilled fluid will be in an area of secondary containment. Leaking vehicle fluids shall be contained or drained from the vehicle immediately.
· No person shall leave unattended drip parts or other open containers containing vehicle fluid, unless such containers are in use or in an area of secondary containment.
	

	 FORMCHECKBOX 
Fuel Dispensing Areas
	· Fueling areas
 shall have impermeable floors (i.e., portland cement concrete or equivalent smooth impervious surface) that are: 
· Graded at the minimum slope necessary to prevent ponding
· Separated from the rest of the site by a grade break that prevents run-on of stormwater to the maximum extent practicable.
· Fueling areas shall be covered by a canopy that extends a minimum of ten feet in each direction from each pump. [Alternative: The fueling area must be covered and the cover’s minimum dimensions must be equal to or greater than the area within the grade break or fuel dispensing area1. The canopy [or cover] shall not drain onto the fueling area.
	· The fueling area is to be dry swept routinely.
· Review and adhere to the Business Guide Sheet, “Automotive Service—Service Stations” in the CASQA Stormwater Quality Handbooks at www.cabmphandbooks.com
	

	 FORMCHECKBOX 
Loading Docks
	· Loading dock areas draining directly to the sanitary sewer shall be equipped with a spill control valve or equivalent device, which shall be kept closed during periods of operation.
· Provide a roof overhang over the loading area or install door skirts cowling) at each bay that enclose the end of the trailer.

· Roof downspouts shall be positioned to direct stormwater away from the loading area. Water from loading dock areas should be drained to the sanitary sewer where feasible.
	· Move loaded and unloaded items indoors as soon as possible.
· Review and adhere to Fact Sheet SC-30, “Outdoor Loading and Unloading,” in the CASQA Stormwater Quality Handbooks at      
   www.cabmphandbooks.com
	

	 FORMCHECKBOX 
Fire Sprinkler Test Water
	· Provide a means to drain fire sprinkler test water to the sanitary sewer.
	· Review the note in Fact Sheet SC-41, “Building and Grounds
   Maintenance,” in the CASQA Stormwater         Quality Handbooks at www.cabmphandbooks.com
	

	 FORMCHECKBOX 
Miscellaneous Drain or Wash Water
· Boiler drain lines Condensate drain lines 
· Rooftop equipment Drainage sumps
· Roofing, gutters, and trim
	· Boiler drain lines shall be directly or indirectly connected to the sanitary sewer system and may not discharge to the storm drain system.
· Condensate drain lines may discharge to landscaped areas if the flow is small enough that runoff will not occur. Condensate drain lines may not discharge to the storm drain system.
· Rooftop mounted equipment with potential to produce pollutants shall be roofed and/or have secondary containment.
· Any drainage sumps on-site shall feature a sediment sump to reduce the quantity of sediment in pumped water.
· Avoid roofing, gutters, and trim made of copper or other unprotected metals that may leach into runoff.
	
	

	 FORMCHECKBOX 
Plazas, sidewalks, and parking lots
	
	· Plazas, sidewalks, and parking lots shall be swept regularly to prevent the accumulation of litter and debris. Debris from pressure washing shall be collected to prevent entry into the storm drain system. Washwater containing any cleaning agent or degreaser shall be collected and discharged to the sanitary sewer and not discharged to a storm drain.
	


V. Drainage Areas
Table 5 summarizes the drainage management areas (DMAs) on site.  

	TABLE 4
Drainage Management Areas

	DMA No.
	Designation
	Description

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


The site map in Attachment 6 shows the DMAs and their flow patterns.  The map indicates, using flow patterns, how the flow from each DMA is routed to the corresponding storm water facility.  Impervious and pervious areas are shown on the map.
VI. Stormwater Treatment Control BMPS
Treatment control BMPs treating runoff from DMAs are summarized in Table 5. 
	TABLE 5
Stormwater Treatment Control BMPs

	Treatment Control BMP Type
	Description
	Size or Treatment Control BMP Capacity
	Area Drained or Water Quality Flow

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


The location and type of each of the project’s stormwater facilities on site are shown on the site map in Attachment 6.
The as-built drawings
, manufacturer’s data, cut-sheets, manuals, and specific operation and maintenance requirements for each treatment control BMP shall be provided in Attachment 7.

VII. Inspecting Stormwater BMPs

The quality of stormwater entering the waters of the U.S. or waters of the state relies heavily on the proper operation and maintenance of permanent BMPs.  LID, source control, and treatment control stormwater BMPs must be periodically inspected to ensure that they are functioning as designed.  Inspections will determine the appropriate maintenance that is required for the facility.

A.  Inspection Procedures
All stormwater treatment BMPs are required to be inspected a minimum of once per year.  The Inspection and Maintenance Checklist(s) that is applicable to the site is provided in Attachment 8.    
B.  Inspection Report

The person(s) conducting the inspection activities (Responsible BMP Party. Employees reporting to Responsible BMP Party, or the Designated Emergency Respondent) shall complete the appropriate inspection checklist for the specific facility.  All completed checklists are located in Attachment 8.  All facilities are to be inspected on an annual basis at a minimum.  A copy of each inspection form shall be kept by the applicant a minimum of 5 years.
Inspection Scoring

For each inspection item, a score is given to identify the urgency for any required maintenance.  The scoring is as follows:

0 = 
No deficiencies identified.
1 = 
Monitor – Although maintenance may not be required at this time, a potential problem exists that will most likely need to be addressed in the future.  This can include items like minor erosion, concrete cracks/spalling, or minor sediment accumulation.  This item should be revisited at the next inspection.
2 =
Routine Maintenance Required – Some inspection items can be addressed through the routine maintenance program. This can include items like vegetation management or debris/trash removal.
3 = 
Immediate Repair Necessary – This item needs immediate attention because failure is imminent or has already occurred.  This could include items such as structural failure of a feature (outlet, weir, manhole, etc.), significant erosion, or significant sediment accumulation.  This score should be given to an item that can significantly affect the function of the facility. 
N/A =
This is checked by an item that may not exist in a facility.  Not all facilities have all of the features identified on the form (outlet, weir, manhole, etc.).
Overall Facility Rating

An overall rating is given for each facility inspected.  The overall facility rating should correspond with the highest score (0, 1, 2, 3) given to any feature on the inspection form.   

C.  Verification of Inspection and Checklist Submittal
The Stormwater BMP Inspection and Maintenance Checklist (in Attachment 8) provides a record of inspections and the need for maintenance activities at the facility.  Verification of the inspection of the stormwater facilities and the facility inspection checklist(s) shall be available to the City of Oceansideif requested.  

VIII. Maintenance Schedule for Stormwater BMPs
A maintenance schedule for the stormwater source control and treatment control BMPs on site is provided in Attachment 9.  Attachment 9 includes schedules for routine inspection and maintenance, annual inspection and maintenance, and inspection and maintenance after major storm events.

A service agreement with any contractors hired to perform stormwater treatment control BMP maintenance is also provided in Attachment 10. 

IX. Maintaining Stormwater BMPs

Stormwater BMPs must be properly maintained to ensure that they operate correctly and provide the water quality treatment for which they were designed.   Routine maintenance performed on a frequently scheduled basis, can help avoid more costly rehabilitative maintenance that results when facilities are not adequately maintained. 

A.  Maintenance Categories

Stormwater BMP maintenance programs are separated into three broad categories of work: routine, restoration, and rehabilitation.  The categories are separated based upon the magnitude and type of the maintenance activities performed.  A description of each category follows:

Routine Work

This work includes items such as the removal of debris/material that may be clogging the outlet structure well screens and trash racks.  It also includes activities such as road and parking lot sweeping, weed control, mosquito treatment, and algae treatment.   These activities normally will be performed numerous times during the year.  These items can be completed without any prior correspondence; however, inspection and maintenance forms shall be completed.
Restoration Work

This work consists of a variety of isolated or small-scale maintenance and work needed to address operational problems.  Most of this work can be completed by a small crew, with minor tools, and small equipment.  These items do not require prior correspondence. However, completed maintenance forms are required.
Rehabilitation Work

This work consists of large-scale maintenance and major improvements needed to address failures within the stormwater BMP.  This work requires consultation with the City of Oceanside and may require an engineering design with construction plans to be prepared for review and approval.
B. Maintenance Forms

The Stormwater BMP Inspection and Maintenance Form provides a record of maintenance activities and includes general cost information to assist in budgeting for future maintenance.   Maintenance Forms for each facility type are provided in Appendix 3. Maintenance Forms shall be completed by the responsible BMP party.  The form shall then be reviewed by the applicant or an authorized agent of the applicant and made available for review upon inspection by the City of Oceanside.
X. Preventative Measures to Reduce Maintenance Costs
The most effective way to maintain a stormwater quality facility is to prevent pollutants from entering the facility.  Common pollutants include sediment, trash & debris, chemicals, pet wastes, runoff from stored materials, illicit discharges into the storm drainage system and many others.  This maintenance program includes measures to address these potential contaminants at the source and save time and money in the long run.  The maintenance program will consider the following: 

· Educate employees and patrons to be aware of how their actions affect water quality and how they can help reduce maintenance costs.


· Keep properties, streets, gutters, and parking lots free of trash, debris, and lawn clippings.

· Ensure the proper use, storage, and disposal of hazardous wastes and chemicals.  Promptly clean up spilled materials and dispose of properly.
· Plan landscape care to minimize and properly use chemicals and pesticides.

· Sweep paved surfaces and put the sweepings back on the lawn.

· Be aware of automobiles leaking fluids.  Use absorbents such as cat litter to soak up drippings – dispose of properly.

· Encourage pet owners to clean up pet wastes.

· Re-vegetate disturbed and bare areas to maintain vegetative stabilization.

· Clean any private storm drainage system components, including inlets, storm drains, and outfalls.

· Do not store materials outdoors (including landscaping materials) unless properly protected from runoff.

XI. Inspection & Maintenance – Annual Reporting 

The tenant is responsible for providing verification that the stormwater treatment control BMPs have been properly inspected and maintained unless otherwise noted. Verification includes records of inspections and maintenance performed on site.  Any maintenance required will be identified and described.      

Records should be available at the City of Oceanside’s request.
ATTACHMENT 1
ORGANIZATIONAL CHART

ATTACHMENT 2 

TRAINING PROGRAM
ATTACHMENT 3
BMP OPERATION AND MAINTENANCE 
FUNDING SUPPLEMENTAL INFORMATION
ATTACHMENT 4
LID BMPS INSPECTION FORM
	LID BMP INSPECTION FORM

	Date:
	Inspector:
	
	Weather:

	Reason for Inspection:
	Comments:

	LID BMP Type
	Description
	Location
	Operational BMPs
	Maintenance Required
	Maintenance Performed/Comments

	 FORMCHECKBOX 
Bioretention
	
	
	 FORMCHECKBOX 
Regularly weed and water during plant establishment phase
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Area is free of litter and excess sediment
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Area free of erosion and stabilized
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Plants are healthy and thriving
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Plant types are those from original design 
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Filter Strips
	
	
	 FORMCHECKBOX 
Regularly weed and water during plant establishment phase
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Plants are healthy and thriving
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Area free of erosion and stabilized
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Area is free of litter and excess sediment
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Plant types are those from original design 
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Flow spreader is free of debris and is not clogged
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Vegetated Buffers
	
	
	 FORMCHECKBOX 
Regularly weed and water during plant establishment phase
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Plants are healthy and thriving
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Area free of erosion and stabilized
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Area is free of litter and excess sediment
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Plant types are those from original design 
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Flow spreader is free of debris and is not clogged
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Bioswale/Grassed Swale
	
	
	 FORMCHECKBOX 
Regularly weed and water during plant establishment phase
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Plants are healthy and thriving
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Area free of erosion and stabilized
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Area is free of litter and excess sediment
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Plant types are those from original design 
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Green Roofs
 FORMCHECKBOX 
Green Roofs Cont’d
	
	
	 FORMCHECKBOX 
Regularly weed and water during plant establishment phase
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Plants are healthy and thriving
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Rain Barrels / Cisterns
	
	
	 FORMCHECKBOX 
Roof catchment and gutters are free of debris and sediment
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Downspouts are free of leaks and obstructions
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Rain barrel, top, and seal are free of leaks
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Overflow pipe is not causing erosion
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Porous Pavement
	
	
	 FORMCHECKBOX 
Pavement is free of debris and sediment
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Pavement is swept monthly
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Pavement is in good condition and stabilized
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Area is dry swept regularly
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Soil Structure Enhancement (use of compost)
	
	
	 FORMCHECKBOX 
Area is protected from compaction
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
Limited foot traffic
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	
	 FORMCHECKBOX 
2 to 1 ratio of compost soil and existing soil is present
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	


ATTACHMENT 5
SOURCE CONTROL BMP INSPECTION FORM

	Source Control BMP Inspection form

	Date:
	Inspector:
	Weather:

	Reason for Inspection: 
	Comments:

	Potential Pollutant Sources
	Location
	Operational BMPs
	Maintenance  Required
	Maintenance Performed/Comments

	 FORMCHECKBOX 
On-site storm drain inlets
	
	 FORMCHECKBOX 
Maintain and periodically replace inlet markers, if necessary.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	 FORMCHECKBOX 
Review stormwater pollution prevention information applicable to the site.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	 FORMCHECKBOX 
Adhere to applicable operational BMPs in Fact Sheet SC-44, “Drainage System Maintenance,” in the CASQA Stormwater Quality Handbooks at www.cabmphandbooks.com 
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	 FORMCHECKBOX 
Do not allow anyone to discharge anything to storm drains or to store or deposit materials so as to create a potential discharge to storm drains.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Interior floor drains and elevator shaft sump pumps
	
	 FORMCHECKBOX 
Inspect and maintain drains to prevent blockages and overflow.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Interior parking garages
	
	 FORMCHECKBOX 
Inspect and maintain drains to prevent blockages and overflow.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Landscape/ Outdoor Pesticide Use
Landscape/Outdoor pesticide Use Continued
	
	 FORMCHECKBOX 
Maintain landscaping using minimum or no pesticides.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	· 
	 FORMCHECKBOX 
Review and adhere to applicable operational BMPs in Fact Sheet SC-41, `“Building and Grounds Maintenance,” in the CASQA Stormwater Quality Handbooks at www.cabmphandbooks.com
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	· 
	 FORMCHECKBOX 
Review IMP information and provide to landscape and maintenance personnel.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Use efficient irrigation systems 
	
	 FORMCHECKBOX 
Inspect irrigation system for leaks and/or malfunctions.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Need for future indoor & structural pest control
	
	 FORMCHECKBOX 
Review Integrated Pest Management information and provide to other maintenance personnel.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Pools, spas, ponds, decorative fountains, and other water features.
	
	 FORMCHECKBOX 
Review and adhere to applicable operational BMPs in Fact Sheet SC-72, “Fountain and Pool Maintenance,” in the CASQA Stormwater Quality Handbooks at www.cabmphandbooks.com
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Food service
	
	 FORMCHECKBOX 
Grease traps cleaned, as necessary.
 FORMCHECKBOX 
See Refuse Areas.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Refuse areas
Refuse areas- Continued
	
	 FORMCHECKBOX 
Provide adequate number of receptacles. 
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	· 
	 FORMCHECKBOX 
Inspect receptacles regularly; repair or replace leaky receptacles. 
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	· 
	 FORMCHECKBOX 
Keep receptacles covered at all times.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	· 
	 FORMCHECKBOX 
Prohibit/prevent dumping of liquid or hazardous wastes. 
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	· 
	 FORMCHECKBOX 
Post “no hazardous materials” signs. 
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	· 
	 FORMCHECKBOX 
Inspect and pick up litter daily and clean up spills immediately.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	· 
	 FORMCHECKBOX 
Keep spill control materials available on- site. Review Fact Sheet SC-34, “Waste Handling and Disposal” in the CASQA Stormwater Quality Handbooks at www.cabmphandbooks.com
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Industrial processes.
	
	 FORMCHECKBOX 
Review and adhere to Fact Sheet SC-10, “Non- Stormwater Discharges” in the CASQA Stormwater Quality Handbooks at
www.cabmphandbooks.com
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Outdoor storage of equipment or materials 
	
	 FORMCHECKBOX 
Review and adhere to the Fact Sheets SC-31, “Outdoor Liquid Container Storage” and SC- 33, “Outdoor Storage of Raw Materials ” in the CASQA Stormwater Quality Handbooks at www.cabmphandbooks.com
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Vehicle and Equipment Cleaning
Vehicle and Equipment Cleaning Continued
	
	Follow operational measures to implement the following (if applicable):

	
	
	 FORMCHECKBOX 
Washwater from vehicle and equipment washing operations shall not be discharged to the storm drain system.

	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	 FORMCHECKBOX 
Car dealerships and similar may rinse cars with potable water only. Any excess water shall be drained through landscaping and dechlorinated prior to discharge to the storm drain system.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	 FORMCHECKBOX 
Review and adhere to Fact Sheet SC-21, “Vehicle and Equipment Cleaning,” in the CASQA Stormwater Quality Handbooks at www.cabmphandbooks.com
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Vehicle/Equipment Repair and Maintenance
Vehicle/Equipment Repair

and Maintenance
Continued
	
	The following restrictions apply to use the site:



	
	
	 FORMCHECKBOX 
No person shall dispose of, nor permit the disposal, directly or indirectly of vehicle fluids, hazardous materials, or rinse water from parts cleaning into storm drains.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	 FORMCHECKBOX 
No vehicle fluid removal shall be performed outside a building, Nor on asphalt or ground surfaces, whether inside or outside a building, except in such a manner as to ensure that any spilled fluid will be in an area of secondary containment. Leaking vehicle fluids shall be contained or drained from the vehicle immediately.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	 FORMCHECKBOX 
No person shall leave unattended drip parts or other open containers of chemicals such as vehicle fluid, unless such containers are in use or in an area of secondary containment.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Fuel Dispensing Areas

	
	 FORMCHECKBOX 
The fueling area is to be dry swept routinely.

	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	 FORMCHECKBOX 
Review and adhere to the Business Guide Sheet, “Automotive Service—Service Stations” in the CASQA Stormwater Quality Handbooks at www.cabmphandbooks.com
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	 FORMCHECKBOX 
Fueling areas are covered by a canopy.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	 FORMCHECKBOX 
The canopy does not drain onto the fueling area.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	 FORMCHECKBOX 
Grading of the area prevents run-on of stormwater to the maximum extent practicable.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Loading Docks

	
	 FORMCHECKBOX 
Move loaded and unloaded items indoors as soon as possible.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	
	
	 FORMCHECKBOX 
Review and adhere to Fact Sheet SC-30, “Outdoor Loading and Unloading,” in the CASQA Stormwater Quality Handbooks at         www.cabmphandbooks.com
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Fire Sprinkler Test Water
	
	 FORMCHECKBOX 
Review the note in Fact Sheet SC-41, “Building and Grounds Maintenance,” in the CASQA Stormwater Quality Handbooks at www.cabmphandbooks.com
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Miscellaneous Drain or Wash Water
· Boiler drain lines Condensate drain lines 
· Rooftop equipment Drainage sumps
· Roofing, gutters, and trim
	
	
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	

	 FORMCHECKBOX 
Plazas, sidewalks, and parking lots
	
	 FORMCHECKBOX 
Plazas, sidewalks, and parking lots shall be swept regularly to prevent the accumulation of litter and debris. Debris from pressure washing shall be collected to prevent entry into the storm drain system. Washwater containing any cleaning agent or degreaser shall be collected and discharged to the sanitary sewer and not discharged to a storm drain.
	 FORMCHECKBOX 
No  FORMCHECKBOX 
 Yes
	


ATTACHMENT 6
SITE MAP

ATTACHMENT 7
AS-BUILT DRAWINGS

ATTACHMENT 8 

TREATMENT CONTROL BMP INSPECTION 
AND MAINTENANCE CHECKLIST(S)

Property Address: 








Property Applicant:  





Treatment Measure No.:  

     Date of Inspection:  

      ___    Type of Inspection:   
 Monthly                   Pre-Wet Season













 After heavy runoff    End of Wet Season
Inspector(s):  





  Overall Facility Score*:                               
 Other:




	Defect
	Conditions When Maintenance Is Needed
	Maintenance

Score**
	Comments 
(Describe maintenance completed and if needed maintenance was not conducted, note when it 
will be done)
	Results Expected When Maintenance Is Performed

	1. Standing Water
	When water stands in the bioretention area between storms and does not drain within five days after rainfall.
	
	
	There should be no areas of standing water once inflow has ceased.  Any of the following may apply: sediment or trash blockages removed, improved grade from head to foot of bioretention area, or added underdrains. 

	2. Trash and Debris Accumulation
	Trash and debris accumulated in the bioretention area.
	
	
	Trash and debris removed from bioretention area and disposed of properly.

	3. Sediment
	Evidence of sedimentation in bioretention area.  
	
	
	Material removed so that there is no clogging or blockage.  Material is disposed of properly.

	4. Erosion
	Channels have formed around inlets, there are areas of bare soil, and/or other evidence of erosion.
	
	
	Obstructions and sediment removed so that water flows freely and disperses over a wide area.  Obstructions and sediment are disposed of properly.

	5. Vegetation
	Vegetation is dead, diseased and/or overgrown.
	
	
	Vegetation is healthy and attractive in appearance.

	6. Mulch
	Mulch is missing or patchy in appearance.  Areas of bare earth are exposed, or mulch layer is less than 3 inches in depth.  
	
	
	All bare earth is covered, except mulch is kept 6 inches away from trunks of trees and shrubs.  Mulch is even in appearance, at a depth of 3 inches.  

	7. Miscellaneous
	Any condition not covered above that needs attention in order for the bioretention area to function as designed.
	
	
	Meet the design specifications.


*Overall Facility Score = Worst Score from all Defect Items Noted.

**Scores: 0 = OK, 1 = Monitor, 2 = Routine Maintenance, 3 = Immediate Repair Necessary

Property Address: 








Property Applicant:  





Treatment Measure No.:  

     Date of Inspection:  

              Type of Inspection:   
 Monthly                   Pre-Wet Season













 After heavy runoff    End of Wet Season
Inspector(s):  





  Overall Facility Score*:                               
 Other:




	Defect
	Conditions When Maintenance Is Needed
	Maintenance
Score**
	Comments 
(Describe maintenance completed and if needed maintenance was not conducted, note when it will be done)
	Results Expected When Maintenance Is Performed
	Date Complete / Initial

	1. Sediment Accumulation on Vegetation
	Sediment accumulating near culverts and/or in channels builds up to 75 millimeters (3 inches) at any spot, or it covers vegetation
	
	
	Remove accumulated sediment deposits.  When finished, buffer strip should be level from side to side and drain freely toward outlet.  There should be no areas of standing water once inflow has ceased.  Dispose of sediment properly.
	

	2. Standing Water
	Water stands in the buffer strip between storms and does not drain within five days after rainfall.
	
	
	There should be no areas of standing water once inflow has ceased.  Any of the following may apply: sediment or trash blockages removed, improved grade from head to foot of buffer strip, removed clogged check dams, added underdrains or converted to a wet buffer strip.
	

	3. Flow spreader 
(if any)
	Flow spreader uneven or clogged such that flows are not uniformly distributed through entire buffer strip width.
	
	
	Spreader leveled and cleaned so that flows are spread evenly over entire buffer strip width.
	

	4. Constant Baseflow
	When small quantities of water continually flow through the buffer strip, even when it has been dry for weeks, and an eroded, muddy channel has formed in the buffer strip bottom.
	
	
	No eroded, muddy channel on the bottom.  A low-flow pea-gravel drain may be added the length of the buffer strip.
	


	5. Poor Vegetation Coverage
	When planted vegetation is sparse or bare or eroded, patches occur in more than 10% of the buffer strip bottom. 
	
	
	Vegetation coverage in more than 90% of the buffer strip bottom.  Determine why growth of planted vegetation is poor and correct that condition.  Replant with plugs of vegetation from the upper slope: plant in the buffer strip bottom at 8-inch intervals, or reseed into loosened, fertile soil.
	

	6. Vegetation
	When the planted vegetation becomes excessively tall; when nuisance weeds and other vegetation start to take over.
	
	
	Vegetation mowed per specifications or maintenance plan, or nuisance vegetation removed so that flow is not impeded.  Vegetation should never be mowed lower than the design flow depth.  Remove clippings from the buffer strip and dispose appropriately. 
	

	7. Excessive Shading
	Growth of planted vegetation is poor because sunlight does not reach buffer strip.
	
	
	Healthy growth of planted vegetation.  If possible, trim back over-hanging limbs and remove brushy vegetation on adjacent slopes.
	

	8. Inlet/Outlet
	Inlet/outlet areas clogged with sediment and/or debris.
	
	
	Material removed so that there is no clogging or blockage in the inlet and outlet areas.
	

	9. Trash and Debris Accumulation
	Trash and debris accumulated in the buffer strip.
	
	
	Trash and debris removed from buffer strip.  Dispose of trash and debris properly.  
	

	10. Erosion/ Scouring
	Eroded or scoured buffer strip bottom due to flow channelization, or higher flows.
	
	
	No erosion or scouring in buffer strip bottom.  For ruts or bare areas less than 12 inches wide, repair the damaged area by filling with crushed gravel.  If bare areas are large, generally greater than 12 inches wide, the buffer strip should be re-graded and re-seeded. For smaller bare areas, overseed when bare spots are evident, or take plugs of grass from the upper slope and plant in the buffer strip bottom at 8-inch intervals.
	

	11. Miscellaneous
	Any condition not covered above that needs attention in order for the vegetated buffer strip to function as designed.
	
	
	Meet the design specifications.
	


*Overall Facility Score = Worst Score from all Defect Items Noted.

**Scores: 0 = OK, 1 = Monitor, 2 = Routine Maintenance, 3 = Immediate Repair Necessary

Property Address: 








Property Applicant:  





Treatment Measure No.:  

     Date of Inspection:  

              Type of Inspection:   
 Monthly                   Pre-Wet Season













 After heavy runoff    End of Wet Season
Inspector(s):  





  Overall Facility Score*:                               
 Other:




	Defect
	Conditions When Maintenance Is Needed
	Maintenance
Score**
	Comments 
(Describe maintenance completed and if any needed maintenance was not conducted, note when it will be done.)
	Results Expected 
When Maintenance 
Is Performed

	General

	Trash & Debris
	Trash and debris accumulated in basin at a minimum of once prior to October 1st, once around Feb 1st, and once May 15th.

Visual evidence of dumping.
	
	
	Trash and debris cleared from site and disposed of properly.

	Poisonous Vegetation and noxious weeds
	Poisonous or nuisance vegetation or noxious weeds, e.g., morning glory, English ivy, reed canary grass, Japanese knotweed, purple loosestrife, blackberry, Scotch broom, poison oak, stinging nettles, or devil’s club.
	
	
	Use Integrated Pest Management techniques to control noxious weeds or invasive species.

	Contaminants and Pollution
	Any evidence of oil, gasoline, contaminants or other pollutants. 

Note signs of hydrocarbon buildup such as floating oil on water surface.
	
	
	No contaminants or pollutants present.

	Rodent Holes
	If facility acts as a dam or berm, any evidence of rodent holes, or any evidence of water piping through dam or berm via rodent holes.
	
	
	The design specifications are not compromised by holes.  

Any rodent control activities are in accordance with applicable laws and do not affect any protected species.  

	Insects
	Insects such as wasps and hornets interfere with maintenance activities.

Where permitted by CA DFG, or other agency regulations, stock regularly with mosquito fish (Gambusia spp.) to enhance natural mosquito and midge control.

Maintain vegetation to assist Gambusia spp. movements to control mosquitoes, as well as to provide access for vector inspectors.

Maintain emergent and perimeter shoreline vegetation as well as site and road access to facilitate vector surveillance and control activities.
	
	
	Insects do not interfere with maintenance activities.

No mosquitoes or other vectors present in unusual abundance.

	Vegetation
	Inspect for invasive vegetation, differential settlement, cracking; erosion, leakage, or tree growth on the embankment. Correct observed problems as necessary. 

Mow side slopes and remove grass clippings every other month or as necessary.

Supplement wetland plants if a significant portion have not established (at least 50% of the surface area) on an annual basis. 

Remove nuisance plant species. 
	
	
	Wetland vegetation should be at proper vigor and density, no nuisance or noxious weeds or invasive species should be visible,  and growth should not hinder physical characteristics or requirements of wetland area.

	Tree/Brush Growth and Hazard Trees
	Growth does not allow maintenance access or interferes with maintenance activity.

Vegetation harvesting should occur preferably between June to September (CASCA TC-21)

Dead, diseased, or dying trees.
	
	
	Trees do not hinder maintenance activities.  

Remove hazard trees as approved by the City. 

(Use a certified Arborist to determine health of tree or removal requirements).

	Drainage time
	Standing water remains in basin more than five days.
	
	
	Correct any circumstances that restrict the flow of water from the system. Restore drainage to design condition.  If the problem cannot be corrected and problems with standing water recur, then mosquitoes should be controlled with larvicides, applied by a licensed pesticide applicator.

	Outfall structure
	Debris or silt build-up obstructs an outfall structure.
	
	
	Remove debris and/or silt build-up and dispose of properly.

	Side Slopes

	Erosion
	Eroded over 2 in. deep where cause of damage is still present or where there is potential for continued erosion.

Any erosion on a compacted berm embankment.
	
	
	Cause of erosion is managed appropriately.  Side slopes or berm are restored to design specifications, as needed.  

	Storage Area

	Sediment
	Monitor for sediment accumulation in the facility and forebay. 

Remove accumulated sediment in the forebay and regrade about every 5-7 years or when the accumulated sediment volume exceeds 10 percent of the basin volume. Sediment removal may not be required in the main pool area for as long as 20 years.
	
	
	Sediment cleaned out to designed basin shape and depth; basin reseeded if necessary to control erosion.  Sediment disposed of properly.

	Liner 
(If Applicable)
	Liner is visible and has more than three 1/4-inch holes in it.
	
	
	Liner repaired or replaced.  Liner is fully covered.


	Emergency Overflow/Spillway and Berms

	Settlement
	Berm settlement 4 inches lower than the design elevation. 
	
	
	Dike is built back to the design elevation.

	Tree Growth
	Tree growth on berms or emergency spillway >4 ft in height or covering more than 10% of spillway.   
	
	
	Trees should be removed.  If root system is small (base less than 4 inches) the root system may be left in place.  Otherwise the roots should be removed and the berm restored.  

A civil engineer should be consulted for proper berm/spillway restoration. 

	Emergency Overflow/ Spillway
	Rock is missing and soil is exposed at top of spillway or outside slope.
	
	
	Rocks and pad depth are restored to design standards.

	Debris Barriers (e.g., Trash Racks)

	Trash and Debris
	Trash or debris is plugging openings in the barrier.
	
	
	Trash or debris is removed and disposed of properly.

	Damaged/ Missing Bars
	Bars are missing, loose, bent out of shape, or deteriorating due to excessive rust.
	
	
	Bars are repaired or replaced to allow proper functioning of trash rack.

	Inlet/Outlet Pipe
	Debris barrier is missing or not attached to pipe.
	
	
	Debris barrier is repaired or replaced to allow proper functioning of trash rack.

	Fencing and Gates

	Missing or broken parts
	Any defect in or damage to the fence or gate that permits easy entry to a facility.
	
	
	Fencing and gate are restored to design specifications.

	Deteriorating Paint or Protective Coating
	Part or parts that have a rusting or scaling condition that has affected structural adequacy.
	
	
	Paint or protective coating is sufficient to protect structural adequacy of fence or gate.

	Flow Duration Control Outlet (if included in design to meet Hydromodification Management Standard) 
[[==refer to any attachments with additional provisions==]]

	Risers, orifices and screens
	Any debris or clogging
	
	
	Restore unobstructed flow through discharge structure; to meet original design; dispose of debris properly.

	Miscellaneous

	Miscellaneous
	Any condition not covered above that needs attention to restore extended detention basin to design conditions.
	
	
	Meets the design specifications.


*Overall Facility Score = Worst Score from all Defect Items Noted.

**Scores: 0 = OK, 1 = Monitor, 2 = Routine Maintenance, 3 = Immediate Repair Necessary

Property Address: 








Property Applicant:  





Treatment Measure No.:  

     Date of Inspection:  

              Type of Inspection:   
 Monthly                   Pre-Wet Season













 After heavy runoff    End of Wet Season
Inspector(s):  





  Overall Facility Score*:                               
 Other:




	Defect
	Conditions When Maintenance Is Needed
	Maintenance

Score**
	Comments 
(Describe maintenance completed 
and if any needed maintenance was not conducted, note when it will be done.)
	Results Expected When Maintenance Is Performed

	General

	Trash & Debris
	Trash and debris accumulated in basin.

Visual evidence of dumping.
	
	
	Trash and debris cleared from site and disposed of properly.

	Poisonous Vegetation and noxious weeds
	Poisonous or nuisance vegetation or noxious weeds, e.g., morning glory, English ivy, reed canary grass, Japanese knotweed, purple loosestrife, blackberry, Scotch broom, poison oak, stinging nettles, or devil’s club.
	
	
	Use Integrated Pest Management techniques to control noxious weeds or invasive species.

	Contaminants and Pollution
	Any evidence of oil, gasoline, contaminants or other pollutants.
	
	
	No contaminants or pollutants present.

	Rodent Holes
	If facility acts as a dam or berm, any evidence of rodent holes, or any evidence of water piping through dam or berm via rodent holes.
	
	
	The design specifications are not compromised by holes.  

Any rodent control activities are in accordance with applicable laws and do not affect any protected species.  

	Insects
	Insects such as wasps and hornets interfere with maintenance activities.
	
	
	Insects do not interfere with maintenance activities.

	Tree/Brush Growth and Hazard Trees
	Growth does not allow maintenance access or interferes with maintenance activity.

Dead, diseased, or dying trees.
	
	
	Trees do not hinder maintenance activities.  

Remove hazard trees as approved by the City. 

(Use a certified Arborist to determine health of tree or removal requirements).

	Drainage time
	Standing water remains in basin more than five days.
	
	
	Correct any circumstances that restrict the flow of water from the system. Restore drainage to design condition.  If the problem cannot be corrected and problems with standing water recur, then mosquitoes should be controlled with larvicides, applied by a licensed pesticide applicator.

	Outfall structure
	Debris or silt build-up obstructs an outfall structure.
	
	
	Remove debris and/or silt build-up and dispose of properly.

	Side Slopes

	Erosion
	Eroded over 2 in. deep where cause of damage is still present or where there is potential for continued erosion.

Any erosion on a compacted berm embankment.
	
	
	Cause of erosion is managed appropriately.  Side slopes or berm are restored to design specifications, as needed.  

	Storage Area

	Sediment
	Accumulated sediment >10% of designed basin depth or affects inletting or outletting condition of the facility.
	
	
	Sediment cleaned out to designed basin shape and depth; basin reseeded if necessary to control erosion.  Sediment disposed of properly.

	Liner 
(If Applicable)
	Liner is visible and has more than three 1/4-inch holes in it.
	
	
	Liner repaired or replaced.  Liner is fully covered.


	Emergency Overflow/ Spillway and Berms

	Settlement
	Berm settlement 4 inches lower than the design elevation. 
	
	
	Dike is built back to the design elevation.

	Tree Growth
	Tree growth on berms or emergency spillway >4 ft in height or covering more than 10% of spillway.   
	
	
	Trees should be removed.  If root system is small (base less than 4 inches) the root system may be left in place.  Otherwise the roots should be removed and the berm restored.  

A civil engineer should be consulted for proper berm/spillway restoration. 

	Emergency Overflow/ Spillway
	Rock is missing and soil is exposed at top of spillway or outside slope.
	
	
	Rocks and pad depth are restored to design standards.

	Debris Barriers (e.g., Trash Racks)

	Trash and Debris
	Trash or debris is plugging openings in the barrier.
	
	
	Trash or debris is removed and disposed of properly.

	Damaged/ Missing Bars
	Bars are missing, loose, bent out of shape, or deteriorating due to excessive rust.
	
	
	Bars are repaired or replaced to allow proper functioning of trash rack.

	Inlet/Outlet Pipe
	Debris barrier is missing or not attached to pipe.
	
	
	Debris barrier is repaired or replaced to allow proper functioning of trash rack.

	Fencing and Gates
	
	
	

	Missing or broken parts
	Any defect in or damage to the fence or gate that permits easy entry to a facility.
	
	
	Fencing and gate are restored to design specifications.

	Deteriorating Paint or Protective Coating
	Part or parts that have a rusting or scaling condition that has affected structural adequacy.
	
	
	Paint or protective coating is sufficient to protect structural adequacy of fence or gate.

	Flow Duration Control Outlet (if included in design to meet Hydromodification Management Standard) 
[[==refer to any attachments with additional provisions==]]

	Risers, orifices and screens
	Any debris or clogging
	
	
	Restore unobstructed flow through discharge structure; to meet original design; dispose of debris properly.

	Miscellaneous

	Miscellaneous
	Any condition not covered above that needs attention to restore extended detention basin to design conditions.
	
	
	Meets the design specifications.


*Overall Facility Score = Worst Score from all Defect Items Noted.

**Scores: 0 = OK, 1 = Monitor, 2 = Routine Maintenance, 3 = Immediate Repair Necessary

Property Address: 








Property Applicant:  





Treatment Measure No.:  

     Date of Inspection:  

              Type of Inspection:   
 Monthly                   Pre-Wet Season













 After heavy runoff    End of Wet Season
Inspector(s):  





  Overall Facility Score*:                               
 Other:




	Defect
	Conditions When Maintenance Is Needed
	Maintenance
Score**
	Comments 
(Describe maintenance completed and if needed maintenance was not conducted, note when it 
will be done)
	Results Expected When Maintenance Is Performed

	1. Vegetation 
	Vegetation is dead, diseased and/or overgrown.  
	
	
	Vegetation is healthy and attractive in appearance.

	2. Soil
	Soil too deep or too shallow.  
	
	
	Soil is at proper depth (per soil specifications) for optimum filtration and flow. 

	3. Mulch
	Mulch is missing or patchy in appearance.  Areas of bare earth are exposed, or mulch layer is less than 3 inches in depth.  
	
	
	All bare earth is covered, except mulch is kept 6 inches away from trunks of trees and shrubs.  Mulch is even in appearance, at a depth of 3 inches.  

	4. Sediment, Trash and Debris Accumulation
	Sediment, trash and debris accumulated in the flow-through planter.  Planter does not drain as specified.  
	
	
	Sediment, trash and debris removed from flow-through planter and disposed of properly.  Planter drains within 3-4 hours.  

	5. Clogs
	Soil too deep or too shallow. Sediment, trash and debris accumulated in the flow-through planter.  Planter does not drain within five days after rainfall.
	
	
	Planter drains per design specifications.

	6. Downspouts and     Sheet Flow  
	Flow to planter is impeded.  Downspouts are clogged or pipes are damaged.  Splash blocks and rocks in need of repair, replacement or replenishment.  
	
	
	Downspouts and sheet flow is conveyed efficiently to the planter.  

	7. Overflow Pipe
	Does not safely convey excess flows to storm drain.  Piping damaged or disconnected.  
	
	
	Overflow pipe conveys excess flow to storm drain efficiently.  

	8. Structural  Soundness
	Planter is cracked, leaking or falling apart.
	
	
	Cracks and leaks are repaired and planter is structurally sound.  

	9. Miscellaneous
	Any condition not covered above that needs attention in order for the flow-through planter to function as designed.
	
	
	Meet the design specifications.


*Overall Facility Score = Worst Score from all Defect Items Noted.

**Scores: 0 = OK, 1 = Monitor, 2 = Routine Maintenance, 3 = Immediate Repair Necessary

Property Applicant: 








Property Address:  





Date of Inspection:  

         


 

Type of Inspection:  
 Monthly                   Pre-Wet Season












 After heavy runoff    End of Wet Season
System Type:  









 
Installer/Contractor:




 
Overall Facility Score*: 




Manufacturer:   






Inspector(s):  









	Defect
	Conditions When Maintenance Is Needed
	Maintenance Score**
	Comments 
(Describe maintenance completed and if needed maintenance was not conducted, note when it will be done)
	Results Expected When Maintenance Is Performed

	1. Sediment, trash and debris accumulation on Filter 
	Sediment, trash and debris accumulated in the sedimentation basin, riser pipe, retention pipes and filter bed.  Filter does not drain as specified.  
	
	
	Sediment, trash and debris removed from sedimentation basin, riser pipe and filter bed and disposed of properly.  Filter drains per design specifications. Empty cartridge should be reassembled and reinstalled.   

	2. Standing water
	Manufactured treatment measure does not drain within five days after rainfall.
	
	
	Clogs removed from filters, sedimentation basin, riser pipe and filter bed.  Filter drains per design specifications.  

	3. Mosquitoes
	Evidence of mosquito larvae in manufactured treatment measure.
	
	
	Clogs removed from sedimentation basin, riser pipe and filter bed.  Filter drains per design specifications.  

	4. Miscellaneous
	Any condition not covered above that needs attention in order for the manufactured treatment measure to function as designed.
	
	
	Meet the design specifications.


*Overall Facility Score = Worst Score from all Defect Items Noted.

**Scores: 0 = OK, 1 = Monitor, 2 = Routine Maintenance, 3 = Immediate Repair Necessary.
Property Address: 








Property Applicant:  





Treatment Measure No.:  

     Date of Inspection:  

              Type of Inspection:   
 Monthly                   Pre-Wet Season













 After heavy runoff    End of Wet Season
Inspector(s):  





  Overall Facility Score*:                               
 Other:




	Defect
	Conditions When Maintenance Is Needed
	Maintenance

Score**
	Comments 
(Describe maintenance completed and if needed maintenance was not conducted, note when it will be done)
	Results Expected When Maintenance Is Performed

	1. Standing Water
	When water stands in the infiltration trench between storms and does not drain within 5 days after rainfall.
	
	
	There should be no areas of standing water once inflow has ceased.  Any of the following may apply: sediment or trash blockages removed, improved grade from head to foot of infiltration trench, removed clogging at check dams, or added underdrains. 

	2. Trash and Debris Accumulation
	Trash and debris accumulated in the infiltration trench.
	
	
	Trash and debris removed from infiltration trench and disposed of properly.

	3. Sediment
	Evidence of sedimentation in trench.  Less than 50% storage volume remaining in sediment traps, forebays or pretreatment swales.  
	
	
	Material removed and disposed of properly so that there is no clogging or blockage.

	4. Inlet/Outlet
	Inlet/outlet areas clogged with sediment or debris, and/or eroded.
	
	
	Material removed and disposed of properly so that there is no clogging or blockage in the inlet and outlet areas.

	5. Overflow Spillway
	Clogged with sediment or debris, and/or eroded.
	
	
	Material removed and disposed of properly so that there is no clogging or blockage, and trench is restored to design condition.

	6. Filter Fabric
	Annual inspection, by removing a small section of the top layer, shows sediment accumulation that may lead to trench failure.
	
	
	Replace filter fabric, as needed, to restore infiltration trench to design condition.

	7. Observation Well
	Routine monitoring of observation well indicates that trench is not draining within specified time or observation well cap is missing.
	
	
	Restore trench to design conditions.  Observation well cap is sealed. 

	8. Miscellaneous
	Any condition not covered above that needs attention in order for the infiltration trench to function as designed.
	
	
	Meet the design specifications.


*Overall Facility Score = Worst Score from all Defect Items Noted.

**Scores: 0 = OK, 1 = Monitor, 2 = Routine Maintenance, 3 = Immediate Repair Necessary.

Property Applicant: 








Property Address:  





Date of Inspection:  

         


 

Type of Inspection:  
 Monthly    

 Pre-Wet Season












 After heavy runoff  
 End of Wet Season 

System Type:  





                                
Installer/Contractor:




 
Overall Facility Score*: 




Manufacturer:   






Inspector(s):  









	Defect
	Conditions When Maintenance Is Needed
	Maintenance

Score**
	Comments 
(Describe maintenance completed and if needed maintenance was not conducted, note when it will be done)
	Results Expected When Maintenance Is Performed

	1. Sediment, trash and debris accumulation on Filter 
	Sediment, trash and debris accumulated in the sedimentation basin, riser pipe, retention pipes and filter bed.  Filter does not drain as specified.  
	
	
	Sediment, trash and debris removed from sedimentation basin, riser pipe and filter bed and disposed of properly.  Filter drains per design specifications. Empty cartridge should be reassembled and reinstalled.   

	2. Standing water
	Manufactured treatment measure does not drain within five days after rainfall.
	
	
	Clogs removed from filters, sedimentation basin, riser pipe and filter bed.  Filter drains per design specifications.  

	3. Mosquitoes
	Evidence of mosquito larvae in manufactured treatment measure.
	
	
	Clogs removed from sedimentation basin, riser pipe and filter bed.  Filter drains per design specifications.  

	4. Miscellaneous
	Any condition not covered above that needs attention in order for the manufactured treatment measure to function as designed.


	
	
	Meet the design specifications.


*Overall Facility Score = Worst Score from all Defect Items Noted.

**Scores: 0 = OK, 1 = Monitor, 2 = Routine Maintenance, 3 = Immediate Repair Necessary.

Property Address: 








Property Applicant:  





Treatment Measure No.:  

     Date of Inspection:  

              Type of Inspection:   
 Monthly                   Pre-Wet Season













 After heavy runoff    End of Wet Season
Inspector(s):  





  Overall Facility Score*:                               
 Other:




	Defect
	Conditions When Maintenance Is Needed
	Maintenance

Score**
	Comments 
(Describe maintenance completed and if needed maintenance was not conducted, note when it 
will be done)
	Results Expected When Maintenance Is Performed
	Date Complete / Initial

	1. Sediment, trash and debris accumulation
	Sediment, trash and debris accumulated in the sedimentation basin, riser pipe and filter bed.  Filter does not drain as specified.  
	
	
	Sediment, trash and debris removed from sedimentation basin, riser pipe and filter bed and disposed of properly.  Filter drains per design specifications.  
	

	2. Standing water
	Non-proprietary media filter does not drain within three days after rainfall.
	
	
	Clogs removed from sedimentation basin, riser pipe and filter bed.  Filter drains per design specifications.  
	

	3. Sediment
	Evidence of sedimentation in bioretention area.
	
	
	Material removed so that there is no clogging or blockage. Material is disposed of properly.
	

	4. Erosion
Erosion Cont’d
	Channels have formed around inlets; there are areas of bare soil, and/or other evidence of erosion.
	
	
	Obstructions and sediment removed so that water flows freely and disperses over a wide area. Obstructions and sediment are disposed of properly.
	

	5. Vegetation
	Vegetation is dead, diseased and/or overgrown.
	
	
	Vegetation is healthy and attractive in appearance.
	

	6. Mulch
	Mulch is missing or patchy in appearance. Areas of bare earth are exposed, or mulch layer is less than 3 inches in depth. 
	
	
	All bare earth is covered, except mulch is kept 6 inches away from trunks of trees and shrubs. Mulch is even in appearance, at a depth of 3 inches. 
	

	7. Mosquitoes
	Evidence of mosquito larvae in non-proprietary media filter.
	
	
	Clogs removed from sedimentation basin, riser pipe and filter bed.  Filter drains per design specifications.  
	

	8. Filter bed
	Overall media depth 300 millimeters (12 inches) or less.
	
	
	Media depth restored to 450 millimeters (18 inches).  
	

	9. Miscellaneous
	Any condition not covered above that needs attention in order for the non-proprietary media filter to function as designed.
	
	
	Meet the design specifications.
	


*Overall Facility Score = Worst Score from all Defect Items Noted.

**Scores: 0 = OK, 1 = Monitor, 2 = Routine Maintenance, 3 = Immediate Repair Necessary

Property Address: 








Property Applicant:  





Treatment Measure No.:  

     Date of Inspection:  

              Type of Inspection:   
 Monthly                   Pre-Wet Season













 After heavy runoff    End of Wet Season
Inspector(s):  





  Overall Facility Score*:                               
 Other:




	Defect
	Conditions When Maintenance Is Needed
	Maintenance

Score**
	Comments 
(Describe maintenance completed and if needed maintenance was not conducted, note when it will be done)
	Results Expected When Maintenance Is Performed
	Date Complete / Initial

	1. Sediment, trash and debris accumulation
	Sediment, trash and debris accumulated in the pervious pavement valley gutter and downstream catch basin. Pavement does not drain as specified.
	
	
	Sediment, trash and debris removed from pervious pavement and catch basin and disposed of properly. Pavement drains per design specifications.
	

	2. Standing water
	Pervious Pavement does not drain within three days after rainfall.
	
	
	Clogs removed from pervious pavement. Pavement drains per design specifications.
	

	3. Sediment
	Evidence of sedimentation in Pervious Pavement.
	
	
	Material removed so that there is no clogging or blockage. Material is disposed of properly.
	

	4. Mosquitoes
	Evidence of mosquito larvae in Pervious Pavement.
	
	
	Clogs removed from pervious pavement. Pavement drains per design specifications.
	

	5. Miscellaneous
	Any condition not covered above that needs attention in order for the non-proprietary media filter to function as designed.
	
	
	Meet the design specifications.
	


*Overall Facility Score = Worst Score from all Defect Items Noted.

**Scores: 0 = OK, 1 = Monitor, 2 = Routine Maintenance, 3 = Immediate Repair Necessary.
Property Applicant: 








Property Address:  





Date of Inspection:  

         


 

Type of Inspection:  
 Monthly    

 Pre-Wet Season












 After heavy runoff  
 End of Wet Season 

System Type:  





                                
Installer/Contractor:




 
Overall Facility Score*: 




Manufacturer:   






Inspector(s):  









	Defect
	Conditions When Maintenance Is Needed
	Maintenance

Score**
	Comments 
(Describe maintenance completed and if needed maintenance was not conducted, note when it will be done)
	Results Expected When Maintenance Is Performed

	1. Sediment, trash and debris accumulation on Filter 
	Sediment, trash and debris accumulated in the sedimentation basin, riser pipe, retention pipes and filter bed.  Filter does not drain as specified.  
	
	
	Sediment, trash and debris removed from sedimentation basin, riser pipe and filter bed and disposed of properly.  Filter drains per design specifications. Empty cartridge should be reassembled and reinstalled.   

	2. Standing water
	Manufactured treatment measure does not drain within five days after rainfall.
	
	
	Clogs removed from filters, sedimentation basin, riser pipe and filter bed.  Filter drains per design specifications.  

	3. Mosquitoes
	Evidence of mosquito larvae in manufactured treatment measure.
	
	
	Clogs removed from sedimentation basin, riser pipe and filter bed.  Filter drains per design specifications.  

	4. Miscellaneous
	Any condition not covered above that needs attention in order for the manufactured treatment measure to function as designed.
	
	
	Meet the design specifications.


*Overall Facility Score = Worst Score from all Defect Items Noted.

**Scores: 0 = OK, 1 = Monitor, 2 = Routine Maintenance, 3 = Immediate Repair Necessary.
Property Address: 








Property Applicant:  





Treatment Measure No.:  

     Date of Inspection:  

              Type of Inspection:   
 Monthly                   Pre-Wet Season













 After heavy runoff    End of Wet Season
Inspector(s):  





  Overall Facility Score*:                               
 Other:




	Defect
	Conditions When Maintenance Is Needed
	Maintenance
Score**
	Comments 
(Describe maintenance completed and if needed maintenance was not conducted, note when it will be done)
	Results Expected When Maintenance Is Performed
	Date Complete / Initial

	1. Vegetation 
	Vegetation is dead, diseased and/or overgrown.
	
	
	Vegetation is healthy and attractive in appearance.
	

	2. Planting Mix
	Planting mix too deep or too shallow.
	
	
	Planting mix is at proper depth for optimum filtration and flow.  
	

	3. Mulch
	Mulch is missing or patchy in appearance.  Areas of bare earth are exposed, or mulch layer is less than 3 inches in depth.  
	
	
	All bare earth is covered, except mulch is kept 6 inches away from trunks of trees and shrubs.  Mulch is even in appearance, at a depth of 3 inches.  
	

	4. Trash and Debris Accumulation
	Trash and debris accumulated in the tree well filter.  Filter does not drain as specified.  
	
	
	Trash and debris removed from tree well filter and disposed of properly.  Filter drains per design specifications.  
	

	5. Sediment
	Evidence of sedimentation in tree well filter.  
	
	
	Material removed so that there is no clogging or blockage.  Sediment is disposed of properly.  
	

	6. Standing Water
	When water stands in the tree well filter between storms and does not drain within five days after rainfall.
	
	
	There should be no areas of standing water once inflow has ceased. Any of the following may apply: sediment or trash blockages removed, overflow pipe repaired.
	

	7. Overflow Pipe
	Does not safely convey excess flows to storm drain.  Piping damaged or disconnected.  
	
	
	Overflow pipe conveys excess flow to storm drain efficiently.  
	

	8. Miscellaneous
	Any condition not covered above that needs attention in order for the tree well filter to function as designed.
	
	
	Meet the design specifications.
	


*Overall Facility Score = Worst Score from all Defect Items Noted.

**Scores: 0 = OK, 1 = Monitor, 2 = Routine Maintenance, 3 = Immediate Repair Necessary.

Property Address: 








Property Applicant:  





Treatment Measure No.:  

     Date of Inspection:  

              Type of Inspection:   
 Monthly                   Pre-Wet Season













 After heavy runoff    End of Wet Season
Inspector(s):  





  Overall Facility Score*:                               
 Other:




	Defect
	Conditions When Maintenance Is Needed
	Maintenance

Score**
	Comments 
(Describe maintenance completed and if needed maintenance was not conducted, note when it will be done)
	Results Expected When Maintenance Is Performed
	Date Complete / Initial

	Sediment Accumulation on Vegetation
	Sediment accumulating near culverts and/or in channels builds up to 75 millimeters (3 inches) at any spot, or it covers vegetation
	
	
	When finished, swale should be level from side to side and drain freely toward outlet.  There should be no areas of standing water once inflow has ceased and sediment is disposed of properly.
	

	Standing Water
	When water stands in the swale between storms and does not drain within 5 days after rainfall.
	
	
	There should be no areas of standing water once inflow has ceased.  Any of the following may apply: sediment or trash blockages removed, improved grade from head to foot of swale, removed clogged check dams, added underdrains or converted to a wet swale.
	

	Flow spreader 
(if any)
	Flow spreader uneven or clogged so that flows are not uniformly distributed through entire swale width.
	
	
	Spreader leveled and cleaned so that flows are spread evenly over entire swale width.
	

	Constant Baseflow
	When small quantities of water continually flow through the swale, even when it has been dry for weeks, and an eroded, muddy channel has formed in the swale bottom.
	
	
	No eroded, muddy channel on the bottom.  A low-flow pea-gravel drain may be added the length of the swale.
	

	Poor Vegetation Coverage
	When planted vegetation is sparse or bare or eroded patches occur in more than 10% of the swale bottom. 
	
	
	Vegetation coverage in more than 90% of the swale bottom.  Determine why growth of planted vegetation is poor and correct that condition.  Re-plant with plugs of vegetation from the upper slope: plant in the swale bottom at 8-inch intervals, or re-seed into loosened, fertile soil.
	

	Vegetation
	When the planted vegetation becomes excessively tall; when nuisance weeds and other vegetation start to take over.
	
	
	Vegetation mowed per specifications or maintenance plan, or nuisance vegetation removed so that flow is not impeded.  Vegetation should never be mowed lower than the design flow depth.  Remove clippings from the swale and dispose appropriately. 
	

	Excessive Shading
	Growth of planted vegetation is poor because sunlight does not reach swale.
	
	
	Healthy growth of planted vegetation.  If possible, trim back over-hanging limbs and remove brushy vegetation on adjacent slopes.
	

	Inlet/Outlet
	Inlet/outlet areas clogged with sediment and/or debris.
	
	
	Material removed so that there is no clogging or blockage in the inlet and outlet areas.
	

	Trash and Debris Accumulation
	Trash and debris accumulated in the swale.
	
	
	Trash and debris removed from swale.
	

	Erosion/ Scouring
	Eroded or scoured swale bottom due to flow channelization, or higher flows.
	
	
	No erosion or scouring in swale bottom.  For ruts or bare areas less than 12 inches wide, repair the damaged area by filling with crushed gravel.  If bare areas are large, generally greater than 12 inches wide, the swale should be re-graded and re-seeded. For smaller bare areas, overseed when bare spots are evident, or take plugs of grass from the upper slope and plant in the swale bottom at 8-inch intervals.
	

	Miscellaneous
	Any condition not covered above that needs attention in order for the vegetated swale to function as designed.
	
	
	Meet the design specifications.
	


*Overall Facility Score = Worst Score from all Defect Items Noted.

**Scores: 0 = OK, 1 = Monitor, 2 = Routine Maintenance, 3 = Immediate Repair Necessary.

Property Address: 








Property Applicant:  





Treatment Measure No.:  

     Date of Inspection:  

              Type of Inspection:   
 Monthly                   Pre-Wet Season













 After heavy runoff    End of Wet Season
Inspector(s):  





  Overall Facility Score*:                               
 Other:




	Defect
	Conditions When Maintenance Is Needed
	Maintenance

Score**
	Comments 
(Describe maintenance completed and if any needed maintenance was not conducted, note when it will be done.)
	Results Expected When Maintenance Is Performed

	General
	
	
	

	Trash & Debris
	Trash and debris accumulated in basin at a minimum of once prior to October 1st, once around Feb 1st, and once May 15th.

Visual evidence of dumping.
	
	
	Trash and debris cleared from site and disposed of properly.

	Poisonous Vegetation and noxious weeds
	Poisonous or nuisance vegetation or noxious weeds, e.g., morning glory, English ivy, reed canary grass, Japanese knotweed, purple loosestrife, blackberry, Scotch broom, poison oak, stinging nettles, or devil’s club.
	
	
	Use Integrated Pest Management techniques to control noxious weeds or invasive species.

	Contaminants and Pollution
	Any evidence of oil, gasoline, contaminants or other pollutants.
	
	
	No contaminants or pollutants present.

	Rodent Holes
	If facility acts as a dam or berm, any evidence of rodent holes, or any evidence of water piping through dam or berm via rodent holes.
	
	
	The design specifications are not compromised by holes.  

Any rodent control activities are in accordance with applicable laws and do not affect any protected species.  

	Insects
	Insects such as wasps and hornets interfere with maintenance activities.

Mosquitoes and other vectors

Where permitted by CA DFG, or other agency regulations, stock regularly with mosquito fish (Gambusia spp.) to enhance natural mosquito and midge control.

Maintain vegetation to assist Gambusia spp. movements to control mosquitoes, as well as to provide access for vector inspectors.

Maintain emergent and perimeter shoreline vegetation as well as site and road access to facilitate vector surveillance and control activities.
	
	
	Insects do not interfere with maintenance activities.

No mosquitoes or other vectors present in unusual abundance.

	Tree/Brush Growth and Hazard Trees
	Growth does not allow maintenance access or interferes with maintenance activity.

Vegetation harvesting should occur preferably between June to September (CASCA TC-20)

Dead, diseased, or dying trees.
	
	
	Trees do not hinder maintenance activities.  

Remove hazard trees as approved by the City. 

(Use a certified Arborist to determine health of tree or removal requirements).

	Drainage time
	Standing water remains in basin more than five days.
	
	
	Correct any circumstances that restrict the flow of water from the system. Restore drainage to design condition.  If the problem cannot be corrected and problems with standing water recur, then mosquitoes should be controlled with larvicides, applied by a licensed pesticide applicator.

	Outfall structure
	Debris or silt build-up obstructs an outfall structure.
	
	
	Remove debris and/or silt build-up and dispose of properly.

	Side Slopes
	
	
	

	Erosion
	Eroded over 2 in. deep where cause of damage is still present or where there is potential for continued erosion.

Any erosion on a compacted berm embankment.
	
	
	Cause of erosion is managed appropriately.  Side slopes or berm are restored to design specifications, as needed.  

	Storage Area
	
	
	

	Sediment
	Remove accumulated sediment in the forebay and regrade about every 5-7 years or when the accumulated sediment volume exceeds 10 percent of the basin volume. Sediment removal may not be required in the main pool area for as long as 20 years.
	
	
	Sediment cleaned out to designed basin shape and depth; basin reseeded if necessary to control erosion.  Sediment disposed of properly.

	Liner 
(If Applicable)
	Liner is visible and has more than three 1/4-inch holes in it.
	
	
	Liner repaired or replaced.  Liner is fully covered.


	Emergency Overflow/ Spillway and Berms
	
	
	

	Settlement
	Berm settlement 4 inches lower than the design elevation. 
	
	
	Dike is built back to the design elevation.

	Tree Growth
	Tree growth on berms or emergency spillway >4 ft in height or covering more than 10% of spillway.   
	
	
	Trees should be removed.  If root system is small (base less than 4 inches) the root system may be left in place.  Otherwise the roots should be removed and the berm restored.  

A civil engineer should be consulted for proper berm/spillway restoration. 

	Emergency Overflow/ Spillway
	Rock is missing and soil is exposed at top of spillway or outside slope.
	
	
	Rocks and pad depth are restored to design standards.

	Debris Barriers (e.g., Trash Racks)
	
	
	

	Trash and Debris
	Trash or debris is plugging openings in the barrier.
	
	
	Trash or debris is removed and disposed of properly.

	Damaged/ Missing Bars
	Bars are missing, loose, bent out of shape, or deteriorating due to excessive rust.
	
	
	Bars are repaired or replaced to allow proper functioning of trash rack.

	Inlet/Outlet Pipe
	Debris barrier is missing or not attached to pipe.
	
	
	Debris barrier is repaired or replaced to allow proper functioning of trash rack.

	Fencing and Gates
	
	
	

	Missing or broken parts
	Any defect in or damage to the fence or gate that permits easy entry to a facility.
	
	
	Fencing and gate are restored to design specifications.

	Deteriorating Paint or Protective Coating
	Part or parts that have a rusting or scaling condition that has affected structural adequacy.
	
	
	Paint or protective coating is sufficient to protect structural adequacy of fence or gate.

	Flow Duration Control Outlet (if included in design to meet Hydromodification Management Standard) 
[[==refer to any attachments with additional provisions==]]

	Risers, orifices and screens
	Any debris or clogging
	
	
	Restore unobstructed flow through discharge structure; to meet original design; dispose of debris properly.

	Miscellaneous
	
	
	

	Miscellaneous
	Any condition not covered above that needs attention to restore extended detention basin to design conditions.
	
	
	Meets the design specifications.


*Overall Facility Score = Worst Score from all Defect Items Noted.

**Scores: 0 = OK, 1 = Monitor, 2 = Routine Maintenance, 3 = Immediate Repair Necessary.

ATTACHMENT 9
MAINTENANCE SCHEDULE
ATTACHMENT 10
 STORMWATER FACILITIES MAINTENANCE AGREEMENT 

WITH ACCESS RIGHTS AND COVENANTS (SWFMA)

ATTACHMENT 11 
ANNUAL INSPECTION AND MAINTENANCE REPORTING FORM
Urban Stormwater Mitigation Plan Reporting Form 
Annual Inspection and Maintenance of Treatment Control BMPs
(Side A)
Responsible Party for Inspection Maintenance: _____________________________________ Signature:________________
Date:_____________                                                                    Print Name/Title







         
Facility Name:__________________________________________________________________________________________ 

	BMP Type
	Location

Lat/Lon

or Inlet #
	Date of Construction
	Inspection Date(s)
	Condition of BMP
Indicate whether the BMP is present and in working condition, requires cleaning or replacement.
	*Maintenance required? (Y/N)

If yes, complete reverse side.

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


* Maintenance is to be carried out as needed and in accordance with approved Operation and Maintenance Plan.

Urban Stormwater Mitigation Plan Reporting Form 
Annual Inspection and Maintenance of Treatment Control BMPs
(Side B)
	BMP Type
	BMP Location

(lat/lon or Inlet #)
	Date of Maintenance Activity
	Description of maintenance performed
	If applicable, describe any additional work required.

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


* Maintenance is to be carried out as needed and in accordance with the City of Oceanside’s Operation and Maintenance Plan.

� The fueling area shall be defined as the area extending a minimum of 6.5 feet from the corner of each fuel dispenser or the length at which the hose and nozzle assembly may be operated plus a minimum of one foot, whichever is greater.


� As-built drawings must be included after construction is complete.






